## Cost-ben calc
Electricity Diverter Cost Benefit Calculator
1. How much is your capital investment?
| The Diverter Device |  |  | 350
| Installation |  |  | 0
| Other Equipment |  |  | 0
350
| Life expectancy - either replacment or becomes no longer viable |  |  | 10 |  | 35
2. How much do you currently spend heating your water
| Are you giving figures per day, weekly, monthly or yearly? |  |  | Per Month |  | multiplier | 12
| For gas are you using m3 or kWh |  |  | meters cubed
GAS
| Gas actual usage |  |  | 15.12 | meters cubed | 498.96 | kWh
| approx kWh/m3 |  |  | 33 | (avg)
| Efficiency heating water relative to electricity |  |  | 56% |  |  | foot3 | 35.5 | m3 | 1.0052
| Unit cost of Gas / kWh |  |  | 0.0313
| Current yearly cost of Gas for water heating |  |  | 187.4094
Elect
| Electricity kWh actual usage |  |  | 0 | kWh
| Unit cost of electricity purchased |  |  | 0.05
| Current yearly cost of electricity used for heating |  |  | 0
Oil
| Oil usage in Litres |  |  | 0 | 0 | 0 | kWh
| approx kWh/litre |  |  | 10.35 | (avg) | (Heating oil is usually 10.35, fuel oil is about 11.85 but these vary a bit)
| Efficiency heating water relative to electricity |  |  | 60%
| Unit cost of Oil / Litre |  |  | 1.061
| Current yearly cost of Gas for water heating |  |  | 0
[7 empty] | US Gallon | 3.2 | Litre | 12.1133
| Total cost of fuels to heat water |  |  | 187.4094 |  |  | Imperial Gallon |  | Litre | 14.5475
3. Equivalent Export costs (reduction in export income)
| Amount of electricity export lost vs gas |  |  | 3353.0112
| Amount of electricity export lost vs electricity |  |  | 0
| Amount of electricity lost vs oil |  |  | 0 | kWh
3353.0112
| cost you will lose per kWh you no longer export |  |  | 0
| Maximum running cost |  |  | 0
4. Payback and value check
| How much electricity do you actually export per year? |  |  | 1000
| Est portion you will divert |  |  | 70% | You won't use every little bit!
| Percentage of costs and savings likely realised |  |  | 20.88%
| Fuel costs saved per year |  |  | 39.125
| Reduced export income per year |  |  | 0
| Saving Per year |  |  | 39.125
| Payback period in years |  |  | 8.9457
| TOTAL GAIN DURING LIFE EXPECTANCY |  |  | 41.25
Extra - Calculate efficiency | Helper -Efficiency
|  | How many kwh electricity to heat tank from cold |  | 15.6
|  | How many kWh of gas/oil to heat tank from cold |  | 28 |  | (if you measure in m3 then multiply that by 33)
|  |  | Efficiency to use | 55.71%
Note on H54: for example On days when you export lots more than needed for hot water you don't get benefiticial usage, also whatever amount is below the threshold to trigger your device